**Pulsar (NDIR) Technical Checklist**

|  |  |
| --- | --- |
| *Application Details* |  |
| *Industry Type* |  |
| *Analyser Location* |  |
| *Sample Gas Composition* |  |
| *Temperature of Sample Gas* |  |
| *Pressure of Sample Gas* |  |
| *Moisture Content – Yes/No* |  |

**Power Supply:**  [ ]  110VAC/220VAC (Standard – Universal)

 [ ]  24VDC

***PULSAR NDIR OPTIONS:***

**Gases & Cell Range: Specify gases to be measured and range of measurement you are looking at**

Carbon Monoxide (CO) [ ]  GFC CO AA (0-100ppm)

 [ ]  GFC CO A (0-1000ppm)

 [ ]  GFC CO B (0-10,000ppm)

 [ ]  GFC CO C (0-10%)

 [ ]  GFC CO E (0-100%)

Carbon Dioxide (CO2) [ ]  GFC CO2 AA (0-100ppm)

 [ ]  GFC CO2 A (0-1000ppm)

 [ ]  GFC CO2 B (0-10,000ppm)

 [ ]  GFC CO2 C (0-10%)

 [ ]  GFC CO2 D (0-20%)

 [ ]  GFC CO2 E (0-100%)

Nitrous Oxide (N2O) [ ]  GFC N2O A (0-1000ppm)

 [ ]  GFC N2O B (0-10,000ppm)

Nitric Oxide (NO) [ ]  GFC NO A (0-1000ppm)

 [ ]  GFC NO B (0-10,000ppm)

Sulfur Dioxide (SO2) [ ]  GFC SO2 A (0-1000ppm)

 [ ]  GFC SO2 B (0-10,000ppm)

 [ ]  GFC SO2 C (0-10%)

Methane (CH4) [ ]  GFC CH4 A (0-1000ppm)

 [ ]  GFC CH4 B (0-10,000ppm)

 [ ]  GFC CH4 E (0-100%)

Hydrogen Chloride (HCL) [ ]  GFC HCL A (0-1000ppm)

 [ ]  GFC HCL B (0-10,000ppm)

Oxygen (O2) [ ]  Paramagnetic

 [ ]  Electrochemical

**Front Panel:** [ ]  Blank

 [ ]  Removable Wireless Tablet

**Gas Handling\*** [ ]  Basic Single Inlet (Standard – FOC)

 [ ]  Calibration Gas Handling

 [ ]  Full Gas Handling

**Output\***

**(Analogue outputs are either 0-10VDC or 4-20mA)** [ ]  0-10VDC (Standard)

 [ ]  4-20mA (optional at extra cost)

 [ ]  Upgraded chart output

 (20 additional alarms)

**MI/995 – Analogue Output SCSI Cable**  [ ]  Yes

**(optional at extra cost)**  [ ]  No

***Notes:***

- Blank Panel is provided with free issued S4i software to act as remote display and to automate coarse and fine calibration. Display: Removable wireless tablet with on-board logging facility.

- Internal Gas Handling: Basic option is single inlet for all sample and calibration gases. The following options are available as upgrades:

\* Calibration Gas Handling: Single sample inlet. Separate solenoid-controlled calibration gas inlets.

\* Full Gas Handling: Separate inlets for all samples and calibration gases. Fully solenoid controlled via analyser software.

- The standard I/O includes 3 contact closure alarm outputs. This upgraded option has 23 user configurable contact closure that can be used for alarms or to control external functions such as down-the-line calibration.